Research & Development Department

Resuscitation Trolley Weekly Checklist

| Date: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Time (24hr clock) |  |  |  |  |  |  |  |
| Portable Suction |  |  |  |  |  |  |  |
| Oxygen cylinder > 3/4 full |  |  |  |  |  |  |  |
| Top |  |  |  |  |  |  |  |
| Sharps Bin - EMPTY |  |  |  |  |  |  |  |
| Defibrillator Medtronic, Lifepak 20 (test succeeded and test paper initialled) |  |  |  |  |  |  |  |
| Defibrillator Pads x2 packs (multifunction electrodes) |  |  |  |  |  |  |  |
| Pressure bag for fluids (on IV Pole) |  |  |  |  |  |  |  |
| Disposable Bag Valve Mask with oxygen tubing and Mask (Marshalls) (on IV Pole) |  |  |  |  |  |  |  |
| Cardiac Arrest Drugs in a SEALED Blue Box – Expiry Date of Box: |  |  |  |  |  |  |  |
| Intubation Tray (Sealed and dated) |  |  |  |  |  |  |  |
| 1st Drawer |  |  |  |  |  |  |  |
| Audit forms x3 |  |  |  |  |  |  |  |
| Trolley checklist |  |  |  |  |  |  |  |
| 2nd Drawer Airway and Breathing |  |  |  |  |  |  |  |
| Tracheal tube bougie 15Ch |  |  |  |  |  |  |  |
| Oropharyngeal Airways Size 1,2,3,4 x1 each |  |  |  |  |  |  |  |
| Suction Catheters Size12ch x2, size 14ch x2 |  |  |  |  |  |  |  |
| Non Re-breath Oxygen Mask |  |  |  |  |  |  |  |
| Oxygen Tubing |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |
| 3rd Drawer - Circulation |  |  |  |  |  |  |  |
| 5% Glucose 100 mls x1 for Amiodarone dilution |  |  |  |  |  |  |  |
| Gelofusin 500 mls x2 |  |  |  |  |  |  |  |
| Sodium chloride 0.9% 500 mls x1 |  |  |  |  |  |  |  |
| IV solution Giving set x1 |  |  |  |  |  |  |  |
| Blood Administration Giving set x1 |  |  |  |  |  |  |  |
| 2 x Adrenaline 1:10000 Minijets – Expiry Date |  |  |  |  |  |  |  |
| Sodium Chloride 10ml Flush x10 |  |  |  |  |  |  |  |
| Water for Injections 10ml x 3 |  |  |  |  |  |  |  |
| Giving set for Fresenius Volumat Pump |  |  |  |  |  |  |  |
| 4th Drawer – Venous Access |  |  |  |  |  |  |  |
| Syringes : |  |  |  |  |  |  |  |
| 50 ml x3 |  |  |  |  |  |  |  |
| 20 ml x5 |  |  |  |  |  |  |  |
| 10 ml x5 |  |  |  |  |  |  |  |
| 5ml x5 |  |  |  |  |  |  |  |
| 2ml x5 |  |  |  |  |  |  |  |
| Needles (Drawing up) Red x5, Green x3 |  |  |  |  |  |  |  |
| Scissors |  |  |  |  |  |  |  |
| Cannulae: |  |  |  |  |  |  |  |
| 20g x2 |  |  |  |  |  |  |  |
| 18g x2 |  |  |  |  |  |  |  |
| 16g x2 |  |  |  |  |  |  |  |
| 14g x2 |  |  |  |  |  |  |  |
| 3 Way taps or Octopus x2 |  |  |  |  |  |  |  |
| Tape x1 |  |  |  |  |  |  |  |
| Sterets x5 |  |  |  |  |  |  |  |
| Gauze x3 packs |  |  |  |  |  |  |  |
| IV Red Bungs x2 |  |  |  |  |  |  |  |
| 4th Drawer – Venous Access |  |  |  |  |  |  |  |
| IV Dressings x3 |  |  |  |  |  |  |  |
| Tourniquet x1 (disposable) |  |  |  |  |  |  |  |
| Drug Added Labels x10 |  |  |  |  |  |  |  |
| Razor x1 |  |  |  |  |  |  |  |
| Blood Gas Syringes x2 (only those with a safety needle attached) |  |  |  |  |  |  |  |
| 1 set of Blood Bottles and Adapter x1 |  |  |  |  |  |  |  |
| Bottom of Trolley |  |  |  |  |  |  |  |
| CVP Pack and Orange Clinical Waste bag |  |  |  |  |  |  |  |
| Central line x1 |  |  |  |  |  |  |  |
| Single Pacing Box and Leads (Where applicable) |  |  |  |  |  |  |  |
| Cardiology Magnet (Where applicable) |  |  |  |  |  |  |  |
| Orange Lifting Sheet (Where applicable) |  |  |  |  |  |  |  |
| Anaphylaxis Drug Box – Expiry Date |  |  |  |  |  |  |  |
| Sphygmomanometer |  |  |  |  |  |  |  |
| Non Sterile gloves (large) x1 box |  |  |  |  |  |  |  |
| ECG Electrodes – Dated when opened |  |  |  |  |  |  |  |
| Initials: |  |  |  |  |  |  |  |

Please replace any missing or defective items immediately

It is acceptable for local areas to add patient group specific kit to the trolley.  However, please do not remove anything without consultation with the Resuscitation Officer on Bleep 450 Extension 6091

Further copies of this Checklis can be obtained from the Intranet

This list should only be used by CTBI